## Sheet1
LINE ITEM PRICE PROPOSAL FORM December 31, 2025 Project Manager: Bob Byers Project # FWBG2026-3
Greenhouse Repair and Construction
Instructions: Please complete all applicable sections. Leave any sections/line items that are not needed empty. Verify Quantities where provided. Add line items as needed under Misc. Work. Spreadsheet calculates subtotals/totals as a convenience only. Check all totals. Bidder is responsible for the accuracy of all information provided.
Bid List Item | Description | Contractor Quantity | Unit | Unit Price | Subtotal | Notes
Rainforest Conservatory Repairs
Repairs
1 | Replace and Install Brass Overhead Irrigation Impact Heads | 8 | ea |  | 0
2 | Replace and Install New R.O. Water Pump | 1 | ea |  | 0
Model #CRN3-5 A-FGI-A-E-HQQE or Equivalent
3 | Replace and Install new High Pressure Mist Pump | 1 | ea |  | 0
Micro Mist system Model #X5-395 Leeson Motor or Equivalent
4 | Tie up all Mist System Lines | 400 | LF |  | 0
5 | Install Pressure Relief Valves for Mist System |  | ea |  | 0
6 | Replace and Install Modine Heat Exchangers or equivalent | 6 | ea |  | 0
7 | Replace and Install New Exhaust Fan Belts | 14 | ea |  | 0
8 | Replace Fan Motors | 3 | ea |  | 0
9 | Adjust and Lubricate all Vent Walls | 1 | LS |  | 0
10 | Provide and Install New VC-100 Vent Motors | 2 | ea |  | 0
11 | Rewire HAF fans on Catwalk into the Link4 Control System | 4 | ea |  | 0
12 | Replace and Install New Wet Wall Frame and Pads (6) | 600 | Ft2 |  | 0
Include new pads
13 | Repair Wet Wall Framing (as needed) | 1 | LS |  | 0
Rolling Hills Project Facility Construction and Upgrades
General
14 | Moblization | 1 | LS |  | 0
15 | Construction Staking and Survey | 1 | LS |  | 0
16 | Project Sign | 1 | LS |  | 0
17 | Tree Protection | 1 | LS |  | 0
18 | Misc. Demo | 1 | LS |  | 0
19 | Utility Sleeves (4" PVC) | 1 | LS |  | 0
20 | Misc. Utility Relocation/Repair | 1 | LS |  | 0
21 | Other | 1 | LS |  | 0
Erosion Control
22 | Erosion Waddle/Silt Fence | 1 | LS |  | 0
23 | Construction Entrances | 1 | LS |  | 0
24 | SWPP Plan (if required) | 1 | LS |  | 0
Site Work
25 | Grading |  | ft2 |  | 0
26 | Excavation |  | ft2 |  | 0
27 | Topsoil |  | Yd3 |  | 0
28 | Finishing |  | ft2 |  | 0
Drainage and Sitework
29 | Drains & Fixtures | 1 | LS |  | 0
30 | Pipe and Fittings | 1 | LS |  | 0
31 | Gravel and Fill |  | Yd3 |  | 0
Office Upgrades (provide and install)
32 | ADA Toilet | 1 | ea |  | 0
33 | Wall-hung Lavatory | 1 | ea |  | 0
34 | EMAX (undersink) Heater | 1 | ea |  | 0
35 | Lift Station (220v grinder pump, stop and check valves) | 1 | LS |  | 0
36 | Control Panel Mounts on Building | 1 | LS |  | 0
37 | 2" pressure Line | 700 | LF |  | 0
38 | Trenching for Sewer Line | 700 | LF |  | 0
39 | 4x2 Tap | 1 | LS |  | 0
40 | Electric by Licensed Electrician | 1 | LS |  | 0
41 | Gas Water Heater | 1 | LS |  | 0
Rainwater Collection System (Provide and Install)
42 | 5000 gal Rainwater tanks (Max. 6' Width to fit space allowed) | 6 | ea |  | 0
43 | Install pads for water tanks | 1 | LS |  | 0
44 | Pressure Pumps (1 per house) | 3 | Ea |  | 0
45 | Water Balance Lines (underground) | 1 | LS |  | 0
Climate Control & Lighting (Provide and Install)
46 | Aqua Fog Mister (Production Greenhouse Zone 2 | 3 | ea |  | 0
Structures and Accessories (Provide and Install)
47 | Conley's Ranger 2000 Greenhouse | 2 | ea |  | 0
Covering corrugated polycarbonate
| Upgrade Doors to Larger Sliding Option (Barn Door) | 4 | ea |  | 0
48 | Concrete Slab (30 x 96) | 2 | ea |  | 0
49 | Operable Side Curtains (6'-0" height, each 96' wall) | 4 | Ea |  | 0
50 | Climate control including heaters, HA fans, controllers | 1 | LS |  | 0
51 | House 1 Supplement Lighting (10 Ft. Candle minimum) | 5396 | ft2 |  | 0
52 | House 2 Light Deprivation System (blackout) | 1 | LS |  | 0
53 | Equipment Shed 20'x 60' Mono slope roof 12' front and 10' back | 1 | LS |  | 0
| (provide and Install) |  |  |  | 0
54 | Concrete Slab (as specified by manufacturer and per code) | 1200 | ft2 |  | 0
Electrical
55 | Backup Generator (provide and Install) | 1 | LS |  | 0
RS30 Cummins Standby Generator with Transfer Switch or equivalent
Base Bid Subtotal |  |  |  |  | 0
Miscellaneous Work
56 |  |  |  |  | 0
57 |  |  |  |  | 0
58 |  |  |  |  | 0
59 |  |  |  |  | 0
60 |  |  |  |  | 0
61 |  |  |  |  | 0
Soft Costs
62 | Bonds | 1 | LS |  | 0 | Bid Bond (5%)
| Insurance |  | Include in Costs Above
| Profit |  | Include in Costs Above
| Overhead |  | Include in Costs Above
63 | Owner Contingency | 1 | LS | 65000 | 65000
Bid Total |  |  |  |  | 65000
Signature of Bidder or Bidder's Representative
|  | Name |  | Signature |  | Date
Address of Bidder
Address
|  |  | City |  |  | State/Zip
Additional Signature for Joint Venture/Partnership
|  | Name |  | Signature |  | Date
Corporate Seal and/or Additionalnformation if required here: